## Sheet1
Type | Manufacturer | Model | Description | Location | Links:
oscilloscope | Agilent | 54622D | 2+16 Channel, 100 MHz |  | manuals | instrument home
Mixed-Signal Scope (MSO), 2+16 Channel, 100 MHz
DC power supply | Agilent | E3634A | 0-25V,7A / 0-50V,4A |  | manuals | instrument home
120-200W, DC System Supplies, GPIB, Single Output
triple output DC power supply | Agilent | E3631A | 0-6V,5A / 0- +-25V,1A |  | manuals | instrument home
25-50W, DC System Supplies, GPIB, Multiple Outputs
multimeter | Agilent | 34401A | 6-1/2 digit multimeter |  | manuals | instrument home
Digital Multimeter, 6½ Digit
waveform generator | Agilent | 33120A | 15Hz Function / Arbitrary Waveform Generator |  | manuals | instrument home
Function / Arbitrary Waveform Generator, 15 MHz
meter | Keithley | 3321 | LCZ Meter |  | manuals
high accuracy (0.1% basic accuracy), full function