Use of the Undergraduate Wind tunnel in the JEC for Design Lab projects

Prepared by Scott Miller

Feb 23, 2011

Faculty:

Design Lab instructors should notify the Wind Tunnel Oversight Committee of general requirements for wind tunnel use (e.g. one Capstone team doing model wind turbines, one Capstone team doing flow visualization on architectural structures) before the start of the semester.

Faculty and Students:

Basic documents (via the share point site or attached below).

1) How to access the wind tunnel share point site (PDF)

The share point site can be used to access the following documents and to access the wind tunnel calendar schedule.

- Wind Tunnel Reservations procedure to Request Time to Run Test(s) 1-5-2011 (PDF)

- Wind Tunnel Test Plan Instructions 1-6-2011 (PDF)

- Wind Tunnel Reservation Procedure for a Tour 1-5-2011 (PDF)

- Example Test plan (From 2008 Formula 1 test).

- Wind tunnel safety instructions (2007)

Students:

Key steps.

- Each team using the wind tunnel must have at least 2 team members who have completed MANE 4910 (Fluid Dynamics Laboratory). Only these team members are allowed to operate the wind tunnel.

- If no one has taken MANE 4910, the team must arrange to have at least two members trained by wind tunnel supervisory personnel. Please contact your Design Lab staff.

- All team members that will be in the wind tunnel must have completed wind tunnel safety training within the last year.

- The team must prepare a test plan according the detailed instructions provided by the wind tunnel administrators.  The elements of the test plan will be similar to the elements of the team’s report on its design efforts:

  - The most critical element is engineering design information about the items that are to be tested showing dimensions and quantifying the expected mechanical loads (steady and dynamic) and demonstrating sufficient structural integrity through analysis.

  - What is to be measured (pressure, flow visualization, aerodynamic loads)

  - What equipment (hardware, instruments, data systems, models) the team will supply,

  - What wind tunnel instruments are required (hot wire, lights, bubble generators…),

  - The required wind tunnel operating parameters.

  - An estimate of the number of data points to be taken, the time required, and contingency plans: Contingent tests must be approved ahead of time, you cannot make up new tests with hardware and instrument changes that have not been reviewed and approved ahead of time.

- The test plan must be submitted a minimum of 2 weeks before the proposed test date, contact the wind tunnel administrator ahead of time so they can help you prepare your test plan.

- Hardware that will be placed in the wind tunnel will be subject to empirical mechanical testing prior to testing. Specialists will review the teams engineering analysis and run bench tests that simulate aerodynamic load in the wind tunnel at 150% of design load.

Wind tunnel test plans should be approved by your project engineer, who will then submit it to the Wind Tunnel Oversight Committee.  Submit your test plan via E-mail (also post on EDN) to your project engineer. If approved, it will be sent to the wind tunnel committee. You are encouraged to contact wind tunnel support personnel when designing hardware and preparing a test plan;

- David Digiulio, Academic Support Technician, 2202 JEC, (518) 276-3851, digiud@rpi.edu

- Randy McDougall, Academic Support Engineer, JEC 1201, (518) 276-2391, mcdour@rpi.edu.

(Randy will check engineering analysis and prepared empirical tests of hardware)

- Wind tunnel Committee: (as Feb 26 2013)

  - Michael Amitay

  - Amir Hirsa

  - Suvranu De

You should contact Dave Diguilio to set up safety and operation training.